## Slide 1: Initial performance criteria and requirements for innovative and multifunctional building envelope elements
Technology Development

## Slide 2: Seven countries for four geo-clusters
Denmark,
Estonia,
Latvia,
Czech Republic,
Portugal,
Netherland,
Switzerland

## Slide 3: Table of content
1 Introduction 3
2 Terms and definitions 4
3 Indoor climate 7
4 Energy performance 14
5 The use of resources: economic viability and cost effectiveness 30
6 References 34

## Slide 4: Economic viability and cost effectiveness
Cost categorization

## Slide 5: Economic viability and cost effectiveness
Current state of buildings
Minimum requirements for dwellings
Mould
Cold
Insufficient ventilation
Thermal bridges
Warm
Leaking roof
Damaged facade

## Slide 6: Economic viability and cost effectiveness
Anyway renovation
Minimum requirements
Energy saving targets
Renovation of ventilation: required vent. airflow;
Control & balancing of heating system;
Durability of facades;
Service life of old HVAC systems;
Additional insulation to avoid thermal bridges
Etc.

## Slide 7: Economic viability and cost effectiveness
Anyway renovation vs. energy related renovation
Minimum requirements Energy saving targets
Thicker insulation
Heat recovery
Renewable energy sources

## Slide 8: Indoor climate: Indoor climate categories
Energy consumption of buildings depends significantly on the criteria used for:
  the indoor environment (temperature, ventilation and lighting)
  building design (including systems), and
  operation
Indoor climate categories (ICC) (EN 15251)

## Slide 9: Indoor climate: Thermal comfort
CR 1752; EN ISO 7730
National design values for the indoor temperature for residential buildings in MoreConnect (mandatory requirements = anyway renovation)

## Slide 10: Indoor climate: Indoor air quality
Mandatory requirements = anyway renovation

## Slide 11: Indoor climate: Moisture safety
EN 15026, EN ISO 13788
Mandatory requirements = anyway renovation
Boundary conditions

## Slide 12: Indoor climate: Acoustics
Acoustic requirements against traffic noise and service systems are important
Additional quality (COST Action TU0901): Six classes A-F specifying different levels of acoustic conditions in dwellings. Class A is the highest class, class F the lowest class

## Slide 13: Energy performance of buildings
Energy Performance of Buildings Directive recast (EPBD recast, 2010)

## Slide 14: Energy performance of buildings
National examples of nZEB definitions in Europe

## Slide 15: Energy related requirements on modular building envelope retrofitting elements
In most of countries the energy performance of buildings is defined as (primary) energy use of whole building’s (heating, cooling, ventilation, DHW, lighting, HVAC auxiliary, appliances), not as specific requirements for building envelope.
For production of modular panels it in necessary to know specific properties of panels (heat loss):
  thermal transmittance U, W/(m2∙K);
  linear thermal transmittance , W/(m∙K) of connections, details and thermal bridges;
  airtightness q50, m3(h∙m2) of building envelope.

## Slide 16: Reference buildings
Typical buildings, structures, and usage
National regulations, local climate
Netherland
Czech Republic
Estonia, Latvia
Denmark
Portugal

## Slide 17: Energy related requirements on modular building envelope retrofitting elements
EP targets
  Before the renovation: reference case for base level
  nZEB i.e. national nearly zero energy definition (if available in specific country);
  Deep renovation: 80 % reduction of primary energy for:
    space heating (+ pumps);
    space cooling;
    ventilation (heating, cooling, fans);
    domestic hot water (DHW).
  ZEB i.e. Zero Energy Building = the primary energy use = 0 kWh/(m² a) (on annual basis) for:
    space heating (+ pumps);
    space cooling;
    ventilation (heating, cooling, fans);
    domestic hot water.

## Slide 18: Before the renovation: base level

## Slide 19: National nZEB: energy usage

## Slide 20: National nZEB: requirements on building envelope

## Slide 21: 80 % reduction of PE: energy usage

## Slide 22: 80 % reduction of PE: requirements on building envelope

## Slide 23: ZEBspace heating and cooling, ventilation, and domestic hot water: energy usage

## Slide 24: ZEBspace heating and cooling, ventilation, and domestic hot water: requirements on building envelope

## Slide 25: How much we can invest in energy savings anyway renovation” measures excluded
Balance between investments and savings
Cost
Time
Before renovation
nZEB
ZEB

## Slide 26: How much we can invest in energy savings anyway renovation” measures excluded
Balance between investments and savings